TOWN OF HARMONY MEETING MINUTES

Town of Harmony         3389 Harmony Hwy, Harmony, NC  28634           704-546-2339

The Town Council met on February 27th, 2020 at 4 PM with Steve Lambert.

Present for the meeting were:   Mayor Lee Matney

Council Members:    Julia Clanton

Doug Galliher

N. Sankey Gaither

Town Clerk:    Wanda Edwards

The purpose to the meeting was to discuss operations at the Waste Water Treatment Plants.  Comments from Steve Lambert were as follows:

Maintenance and condition of plant:

Screw Screen / Filter are operating

Flow meter has been replaced and is operating

Blower has been repaired and fastened to mount

Disinfecting UV system is working properly

Plant electrician is Ehret Electric

Dorsett has been told not to come out unless called

Return activated sludge pump – uses large compress to clean when it becomes stopped up.  This is a                              necessary piece of equipment to keep us compliant.

Inlet check valve protects from surge to plant

Inlet composite sampler is not working properly.  Steve is looking to get a college size refrigerator to keep sample cold.

Alarms:

Battery backup on alarm system

If power goes off, battery will last for 30 minutes.  Steve is looking into getting a larger battery

Nuisance alarms – they do not respond to all of the time

It is legal not to go to the stations every day as long as the alarm system works

J D resets alarms at a lesser fee than if Dorsett came out

Steve was asked how many alerts he received and how many he responded to – not many of late

Genuine alert will repeat alert alarm urgency – station is high level

WWTP is checked on a daily basis – pump stations twice a week

Log books is maintained and stays at the station.  Steve reviews log book and talks with JD if there are any  issues.

Buddy asked if holding off repairing things causes further damage – Steve monitors whether it can wait

Employees:

Steve calls this associates rather than employees

His associates are all sub-contracted

They do not require oppressive supervision to get the job done

Anthony works as a full time operator for the City of Statesville.  He is the backup operator for Steve.  He can sign papers.

Scotty also backs up and is authorized to sign papers

J D can do everything except sign papers

Anthony averages working 1-1.5 hours per day (works Monday thru Friday) does testing and cleaning

J D works as needed doing maintenance and trouble shooting

Scotty keeps UV tubes clean and cleaning

Steve has to be at the WWTP 5 days per week by law.  He is Operator By Charge – he files reports, takes samples to laboratory for testing and does whatever needs to be done.

Question was asked “if Steve were to leave, could Anthony handle WWTP?”  Steve says “yes” but would need to learn how to file reports.

Steve will train Anthony on how to do the reports and submit them.

J D could be the Prime Contractor – he would not have to have a license.  He could be an Operator Responsible in Charge.

Steve assured the council that J D, Anthony and Scotty will be cross trained.

Steve asked council to let him know of any dissatisfaction with him or job

Buddy made a motion to adjourn.  Julia seconded the motion.  Motion carried.

_______________________________                                      ___________________________

Town Clerk                                                                                           Mayor