TOWN OF HARMONY MEETING MINUTES

Town of Harmony      3389 Harmony Hwy, Harmony, NC  28634        (704) 546-2339

September 3, 2021

Meeting with Jeff Jones, Troy Cassidy, Mayor Matney, Doug Galliher and Buddy Gaither and Clerk Wanda Edwards present.

Notes taken:

We are permitted at 80,000 gal per day / with 7 lift stations – Jeff wants to look at the lift stations.

Wanted to know if we used Dorset.  He is very familiar with Missions telemetry – very easy to repair – he can repair it himself – Dorset is very expensive – live units should only be at WWTP – not necessary at lift stations.

Jeff has a lot of background experience.  He is currently the Utility Director for the Town of Boonville and manages the water for Rhonda.  He is interested in expanding.

He will submit testing to Statesville Analytical.  He or his assistant will personally take the samples to Statesville.

Jeff will be working 120 hours per month. Charge each month will be the same whether it is a 4-week month or a 5-week month. 10% of lines will be cleaned annually.  He has his own insurance.  Town will not be reimbursing him for the cost.  He will do one after hours call per month at no cost to the town.   After that the cost will be $20.00 per hour. The Town will not be asked to buy any tools – he will provide his own.  We will 1099 him for tax purposes.  He will create a work order flow system with invoice each month and he will send a more detailed maintenance log report of work performed.  His son will be working with him and will be here 5 days per week.  He will check in at the office each day.

Jeff will work with county inspector to be sure we are notified when a sewer tap is installed.

He knows local vendors that may be able to save us some money.

Jeff has someone who will be his back-up.  He will not need J D or Anthony.  ORC will be here 4 days a week to do sampling – back-up 1 day per week.

We will be able to get in touch with Jeff 24 hours a day – 7 days a week.

He is asking $4,500 per month.

After Visiting WWTP he noted:

Plant has great potential

Noted pump on its side – worst thing you can do for a pump

3 grates were removed

Hoses – trip hazard

Affluent had a lot of floatable solids

Both clarifiers had pop-ups

Council will meet with Jeff on September 9th at 4 p.m. – Jeff’s phone number is 336-466-0887.

______________________________                               ______________________________

Town Clerk                                                                                    Mayor